Manual for hourly-PV dataset

| Physical quantity | Definition | units |
| --- | --- | --- |
| Beam Irradiance | This is the amount of solar radiation received per unit area by a surface that is held perpendicular (normal) to the rays that come in a straight line from the direction of the sun. | W/m2 |
| Diffuse Irradiance | The solar radiation that reaches the Earth's surface after being scattered out of the direct beam by molecules, aerosols, dust, and clouds in the atmosphere | Diffuse Irradiance W/m2 |
| Ambient Temperature | Temperature of the surrounding air in the immediate environment. | C |
| Wind Speed | - | m/s |
| Albedo | Albedo is a measure of the reflectivity of a surface |  |
| Plane of Array Irradiance |  | W/m2 |
| Cell Temperature | This is the actual operating temperature of the individual solar cells inside the solar module | C |
| DC Array Output | - | W |
| AC Array Output | - | W |

Remarks

- Cell Temperature can take negative values, which is when it is the most efficient.

- Ambient Temperature can also take negative values.

- Includes an overall inverter efficiency.

Summary: This data-set contains all the PV hourly performance data of last year for BIDMC’s location. A DC array output and an AC system output is available in watts, as well as a few meteorological data such as albedo and wind speed. Very easy to understand, would be recommended over the complex second dataset.